ACCEPTED CLEANING PROCEDURE USING ISOPROPYL ALCOHOL CHEM-9857

Perform all steps in a well-ventilated area with nitrile gloves.

- Wet a Kim-Wipe with isopropyl alcohol.

- Apply towel to surface.

- Allow surface to dry 3 minutes minimum before continuing.

- Dispose of towel, gloves, and empty bottles in approved waste streams.